## Slide 1: The Dust Buster
Ben Sedgwick
Cameron Carter
Hung Hoang
JasoN Liu
Jean-Claude Khacho

## Slide 2: The Problem
-Malt is clogging the filters
-Significantly impacts productivity
-Need a way to monitor silo dust
-Needs to provide constant data
-Needs to alert when dust exceeds a threshold

## Slide 3: What’s Out There
-Costs up $2000
-Accuracy of 8 µg/m^3
-Provided constant data
-Complicated purchasing and installation method

## Slide 4: Our Solution
-3D printed case
-Arduino UNO, PM2.5 sensor, USB cable
-Provides constant data and alerts
-Simple installation and maintenance
-Costs $275.61

## Slide 5: Demo
Below Threshold Near Threshold Above Threshold
Threshold set to 4 µg/m^3

## Slide 6: Summary
-Needed a solution to monitor malt dust
-Provides real time dust concentrations and alerts
-Low maintenance and easy installation
-$275 vs $2000

## Slide 7: Thank You
Questions?